INDIAN BANK

ZONAL OFFICE, SAMBALPUR.

TENDER DOCUMENT

FOR

ELECTRICAL & DATA CABLING WORKS OF JHARSUGUDA                           BRANCH & ATM.

ARCHITECT

TECHNO ARCH

Plot No - 71/7, Jadupur, Near City Bus Stand, Bhubaneswar 751019

Ph.0674-2551479, Mobile. 9437189632

NOTICE INVITING TENDER

Sealed item rate tenders in duplicate are invited on behalf of the Zonal manager, Zonal office, Sambalpur, from the Contractors Empanelled with the Indian Bank (Zonal office, Sambalpur) for the work of ELECTRICAL & DATA CABLING WORK OF INDIAN BANK JHARSUGUDA 2, SAMBALPUR ( ODISHA)

01.    Issue of tender documents	                 :	Dt.   29 / 11 /2022 to    03 / 12 /2022 up to

12.00 PM

| 02. | Last date of receipt of tender document | : | Dt. 08 / 12 /2022 up to 2.00 PM |
| --- | --- | --- | --- |
| 03. | Date & Time of opening | : | Dt. 09 / 12 /2022 at 3.00 PM |
| 04. | Place of submission of bids | : | INDIAN BANK , Zonal office, Shyam Arcade, Sambalpur. |
| 05. | Date of commencement | : | 7 days from issue of work order. |
| 06. | Date of completion of work | : | 25 days from issue of work order. |
| 07. | Period for settlement of final bill | : | 15 days from date of issue of completion certificate by the Architect. |
| 08. | Retention percentage | : | 10 % (ten percent) from final bill. |
| 09. | Earnest money deposit | : | Rs. 7,200.00 /- (Rupees Seven thousand two hundred only) |
| 10. | Liquidated damages for non completion of work within the date of completion | : | Rs. 10,000/- ( Rupees Ten Thousand only) for every week if the work remains unfinished after the date of completion or the date extended subject to maximum of 10% of the value of work. |
| 11. | Defect liability period | : | 12 months from the date of completion certificate issued by the Bank Architect. |

12.  Cost of tender document	                   :  Rs.1,000/- (Rupees One thousand only)

13.  Interested bidder may obtain further information from the office of consultant / Bank   Architect.

14. Bank reserves the right to reject wholly or part of any or all tenders received without Assigning any reason whatsoever, Also Bank reserves the right to split the work and   place the order to more than one party.

15. ANY FREAK RATE OF INDIVIDUAL ITEM ON HIGHER SIDE ARE LIABLE FOR NEGOTIATION.

16. The Tender document can be obtained from consultant M/s Techno Arch. Plot no.71/7,Bhubaneswar-751019. Mobile-9437189632.

SUBMISSION OF TENDER

The tenders are to be submitted in separate envelopes each sealed and clearly identified as to envelope number and contents as indicated below. All the envelopes shall be contained in a large envelope “Tender for Electrical & Data Cabling work of INDIAN BANK at JHARSUGUDA,SAMBALPUR (ODISHA)” and are to be submitted at Zonal office of Indian Bank , Shyam Arcade, Sambalpur.  Each tenderer will be issued two set of tender documents with schedule of quantities (two set). Tenderer will have to return all the documents and drawing issued to them while submission of their tender duly stamped and signed in each page as per instruction.

GENERAL INSTRUCTIONS TO TENDERERS

1) The term “Employers” or “Bank “shall mean “INDIAN Bank”, or it authorized representatives at The Zonal Office, SAMBALPUR.

2) The term “Architect(s)” shall mean “M/s.Techno Arch. who are the Architect Consultant to the Employer for this project & having office at Plot No. 71/7, Jadupur, Near Dumuduma Mo Bus stand, Bhubaneswar. Or its authorized representatives.

3) The term “Contractor” shall mean the successful tenderer to whom the Contract shall be awarded.

4) The“ Works” shall mean the Electrical & Data Cabling works for JHARSUGUDA  SAMBALPUR.

5) The Contractor should quote the rates in figures and words. Any corrections or Over-writing should be initialed by the Contractor.

6) The Contractor should submit the tenders with seal, signature and date on each Page.

7) Tender should be submitted in sealed covers with all requisite documents as desired with the top of the envelope super scribed as “SEALED TENDER for Total Electrical & Data Cabling works For JHARSUGUDA  SAMBALPUR..

8) The Contractors should submit the cost of the main items as per tender specifications. Further modification after awarding of the contract shall be not allowed unless there is specific instruction by the Bank/Architect to change specifications.

9) The contract is time-bound and the works are to be completed within the time limit specified in the notice inviting tenders. This is a working section and the contractor has to work with no or minimum obstruction to its regular services.

10) Additional Performance Security shall be deposited by the successful bidder as follows:-

| Sl No. | Range of Diffrence between the estimated cost put to tender and Bid Amount | Additional Performance Security to be deposited by the successful bidder. |
| --- | --- | --- |
| 1 | Below 5% | No Additional Performance Security |
| 2 | From 5% and above and below 10% | 50% of ( Difference between estimated cost put to tender and Bid Amount ) |
| 3 | From 10% and above | 150% of ( Difference between estimated cost put to tender and Bid Amount ) |

11)  The additional performance security as per clause 10  shall be furnished by the bidder before execution of the work in shape of Demand Draft or Fixed Deposit Receipt at any Nationalized bank pledged in favour of Indian Bank, Regional Office Bhubaneswar which will be over and above the performance security.

12) The Contractor shall be completed all works as per specification to the satisfaction of Engineer/Architect  in charge else the total or part of performance security will be forfeited . The performance security will be release by the Bank after completion of the project .

13) The Contractor shall be penalized if the work is not completed within the scheduled time, the Bank will be entitled to charge liquidated damages @ Rs. 10000/- ( Rupees Ten Thousand only) for every week if the  work remains unfinished after the date of  completion or the date extended subject to maximum of 10% of the value of work.

14) The decision of Employer and the Architect is final and binding.T E R M S & C O N D I T I O N

1) Unless otherwise mentioned, all works are with no allowance for Lapse waste. Unless otherwise described or measured separately, price for all the items shall include all necessary straight & curved edges.

2) Any damage to the work before the site is handed over, is to be replaced or made good at the expense of the contractor to the entire satisfaction of the Architect/Bank.

3) Tax as applicable shall be deducted at source as per the Income Tax Act/Rules

4) The quantities indicated are subject to change. The payment of the bill shall be made as per the actual measurement as certified by the architect but not exceeding the total value quoted in the tender form.

5) The Architect or any officer of the Employers will be free to inspect the work at the site during the period of execution. Any suggestion of change or modification to improve the quality of work will be carried out subject to prior approval of the competent authority of the employers and that of the Architect.

6) In case of failure to take up the work even after accepting the work order, or leaving the work incomplete, or for defective work not rectified, or violation of the terms and conditions, the earnest money deposit will be fortified.

7) For any item of work not covered or any unforeseen items of work, payment will be made according to the rates approved for similar nature of work, the costing done by the Architect, as per current PWD schedule of rates, or as per analysis of material cost, labour rate and profit to the Contractor at 10%. The Contractor must obtain prior approval in writing before undertaking such additional works.

8) The tenderers shall sign each & every page of the tender documents including the drawings attached here to.

9) The amount is to be quoted in figures as well as in words. In case the rates quoted in words and in figures are in variance, the amount written in words shall be taken as final.

10) The Contractor shall make their own arrangement at their own cost for storing materials, plants, tools etc. The employers will not be liable for security of the Contractor’s materials.

11) No tools or plants will be issued by the bank.

12) The Employer / Architect reserves the right to accept or reject any tender without assigning any reason whatsoever and the said decision shall be final and binding upon the tenderer.

13) In case of breach of contract by the Contractor for slow progress of works or any other claim of damage, the Employer or the Architect may have the power to rescind the contract without furnishing further reasons thereof.

14) The Architect shall have the power to ask the contractor to furnish the sample/ color / test certificate from any Govt. /Authorized agent for any materials used/ to be used in the Works, the expenditure of which is to be borne by the Contractor.

15) The Employer shall be not be liable for any damages or compensation payable as a consequence of any accident or injury to any workman or other persons in the employment of the Contractor or any sub-contractor.

16) On completion of the Works, all rubbish, debris, materials, tools, Laborers, etc. to be removed by the contractor from the site and the contractor will hand over the site clean & clear & in usable condition within 3 days of completion of the works. Failing this, the employer may

dispose the materials at the cost of the contractor.

17) In case of any dispute, the matter will be referred to the , INDIAN  Bank, ZONAL Office, SAMBALPUR.

18) The Contractor shall not submit any work bill until he completes the Project completely, as certified by the Architect Consultant.

19 The rates quoted in the tender shall exclude GST & other taxes, no escalation of rates will be allowed under any circumstances

SPECIAL TERMS AND CONDITIONS

1. Completion Period 			: 25 Days

2. Date of Commencement 	: 7 days from the date of issue of the work    order or the date on which the contractor is instructed to take possession of the site, or the date of your acceptance of the work-   order, whichever is later.

3. Defect Liability Period 			: One year after actual completion of work.

4. Total security deposit (TSD) 		 : 10 % of the executed value of the work

5. Limit of variation 	:100% without any change in price if  work is done within six months of the contract and with prior consent of Architect / Consultant.

6. Additional items 	: For items where unit rates are not available, contractor shall provide proper cost break-up and proceed only after approval/consent. Any sample to be made for approval Shall be at the Contractor’s cost.

7. Validity of tender 				: Three month after the opening of the tender.

8. Rules/ Regulations 	: The contractor shall have there responsibility of complying with the local shops/establishments Act and other labor/ minimum wages Act and shall keep all such records/ accounts on payment of wages / attendance as deemed necessary.

9. Arbitration 	As per the standard arbitration clause under the jurisdiction of Odisha.

10. Organization 	 :The contractor shall employ competent / qualified supervisor /Engineer-in-charge who shall be responsible for the day to day work and coordinate as necessary with the Architect’s supervisor. Any workman found guilty of misconduct/theft shall removed from the site.

11. Damage to property	Any damage to the Bank’s property during the work period will be recovered from the contractor.

12. Deduction	 Income tax, Sale Tax at source as per Act.

13. Terms of payment 			Payment after completion of Project.

14. Billing Procedure 	All measurements shall be recorded in Duplicate on standard measurement sheets Prepared jointly by the Architect’s Site Engineer & The Contractor’s Representatives duly signed by them. All Bills shall be submitted along with this Checked measurement sheets.

15. Time schedule of work 	The Contractor must submit before the Commencement of work, a Bar chart Showing the date of commencement & The date of completion of each item of Work as mentioned in the Schedule of Quantities.

16) Release of TSD 	: 100% after the Defect liability period. Retention money will not bear any interest.

17. General 	The rates should be quoted considering Necessary Scaffolding & staging work, Removal of debris as & when necessary, In view of restriction of Local concern Authority.

INDIAN BANK

TECHNICAL SPECIFICATION OF MATERIAL TO BE USED

1.  LT PANELS                                                 : ANY CPRI APPROVED FABRICATOR

2. LT ACBs                                                       : L&T / SIEMENS/ ABB

3. MCCB / ISOLATORs                                   : L&T / SIEMENS/ GE / ABB

4. CURRENT TRANSFORMER                         :KAPPA / AE / KALPA / RISHAB

5. RELAYS                                                       :GEC ALSTOM / EASUN / RISHAB

6. INSTRUMENTS                                          :AE / HPL / L&T / ELECON / RISHAB

7. INDICATING LAMPS                                 :SIEMENS/ L&T/AE

8. SELECTOR SWITCHES                               :SALZER / KAYCEE / L&T/AE

9. FR WIRES                                                   :FINOLEX / POLYCAB / RR-KABEL

10. LT PVC ARMOURED CABLES AL/CU          :POLYCAB / GLOSTER / NICCO/ FINOLEX/ CCI

11. MS CONDUITS                                          :GUPTA / AKG/BEC/SIDDARTH

12. PVC CONDUITS                                         :PRECISION/Circle-Arc/Plaza/Berlia

13. DISTRIBUTION BOARDS                         : L&T / SIEMENS/ HAGER / ABB/LEGRAND

14. MCB’s                                                         : L&T / SIEMENS/ GE / ABB /LEGRAND

15. SWITCHES & SOCKETS                           : MK / LEGRAND/ Siemens

16. GI ANODISED METAL BOX                      : MK/ LEGRAND

EGRAND/Siemens/Roma/Philips

17. CABLE GLANDS                                         :COMET / JAINSONS/ DOWELL’S

18. CRIMPING SOCKETS (Lugs)                      :DOWELLS / JAINSON/DOWELL’S/ COMET

19. LIGHT FITTINGS                                     : PHILIPS /Crompton/Wipro /Syska

20. CEILING FAN / ESHAUST FAN               : CROMPTON / BAJAJ/HAVELS

21. APFC Relay                                                 : L & T/ HPL/ Enercon/Siemens/Neptune

22. Capacitor                                                   : L&T/HPL/Siemens/ Neptune/ Meher

23. Cable trays                                                : PROFAB, PBIPL, PINNACLE

24. Bus Ducts                                                  : Schneider, Godrej, Zukkini, L&T

25. Data/Voice Cables                                     : Systimac, D-Link, Amp

26. Data/Voice Jacks                                      :   D-Link/Amp

FORM OF TENDER

........................................................

........................................................

.........................................................

Dear Sirs

Ref:...........................................................

............................................................

............................................................

- I/We refer to the tender notice issued by your Consultant M/s.Techno Arch,    Plot No.71/7, Jadupur, Near Dumuduma City Bus stand, Bhubaneswar on your behalf for the ................................................................................in connection with the above.

- I/We do hereby offer to perform provide execute complete and maintain the works in conformity Bill of Quantities for the sum of RS......................................(Rupees...............................................................) only at the respective rates quoted in the bill of quantities.

- I/We have satisfied myself/ourselves as to the site conditions, examined the drawings and all aspects of the tender conditions subject to above, I/We do hereby agree should this tender be accepted in whole of part off:

- Abide by and fulfill all the terms and provisions of the said conditions annexed    hereto:

- Complete the works within 30 days stipulated in two or three shifts if considered   necessary by the Consultants at no extra cost to the Owner.

- I/We have deposited the earnest money of RS..............................................................which we note will not bear any interest and is liable to forfeiture,

i)  If the offer is withdrawn within the validity period of acceptance.

o r,

ii) If the contract is not executed with 7 days from award of contract.

or,

iii) The acceptance of this tender shall constitute a binding of contract and any failure as mentioned in Clause.4 shall constitute a breach of contract by us and the tender accepting authority shall be entitled to have the work executed at our risk and cost and to claim extra cost/expenditure incurred by them from us.

5. Unless and until a formal agreement is prepared and executed this tender together with your written acceptance thereof shall constitute as a binding contract.

6. I/We understand that you are not bound to accept the lowest any tender received.

7. I/We have independently considered the amount of liquidated damages in the Appendix to the General conditions of the Contract and agree that it represents fair estimate of the loss likely to be suffered by you in the event of the works not being completed in time.

8.  Our Bankers are:-

I)  The names of Partners/Directors of the firm Authorized to sign

Yours faithfully,

Name of person having power of

Attorney to sign the contract.

(Certified true copy of the

Power of attorney should be

attached.)

Signature of

the Contractor

ABSTRACT

Electrical work of Branch      :-	Rs……………………………

Electrical  work of ATM          :-	Rs……………………………

TOTAL:-				Rs.

Total amount in words:-